# 8DC00 Medical Image Analysis

Project 1 - Registration

Report

1-10-2021

Group 3

Aiik Biermans – 1241616

Brigitte van der Geest – 1464027

Pauline Haulez – 1462245

Willem Schellekens - 1636308

# Index

1. Introduction	3

2. Methods	3

2.1 Dataset	3

2.2 Point-based and intensity-based registration	3

2.3 Methods of registration evaluation	3

# 1. Introduction

Image registration, the process of aligning two images, is a vital practice used throughout the field of medical imaging. It is used in the comparison of medical images of different moments in time, different modalities or different patients, necessary for clinical evaluation E.g., images from before and after treatment of a patient can be used to evaluate the effectiveness of the treatment, Computed tomography (CT) images can be aligned with Positron Emission Tomography (PET) images to further improve tumor detection and segmentation of structures in an image can be made easier when aligned with an atlas. For good and relevant comparisons between images, accurate alignment is needed (Kostelec & Periaswamy, 2003). The structures in the images must overlap in the area of interest, with as little error as possible to achieve this. Image registration can be done automatically to eliminate human the human factor and to make the registration objective. Various algorithms which optimize the alignment of the images can be used, each with its own characteristics and features.

In this report, different methods of registration are elaborated and applied on a provided dataset of MR brain scans. A transformation matrix is calculated either semi-automatically or automatically and then applied to the moving image to align it with a fixed image. The methods are evaluated with the use of different metrics to assess the quality of the registration. The goal of this project is to compare and evaluate the different inter-and intra-modal registration methods. Experiments will be performed to demonstrate the advantages and disadvantages of each.

# 2. Methods

## 2.1 Approach

[elaborate what we’ve done for the project]

- intra-modal rigid intensity-based registration, evaluated through the method of normalized cross-correlation.

- intra-modal affine intensity-based registration, evaluated through the method of normalized cross-correlation.

- inter-modal affine intensity-based registration, evaluated through the method of normalized cross-correlation.

- intra-modal affine intensity-based registration, evaluated through the method of mutual information

- inter-modal affine intensity-based registration, evaluated through the method of mutual information

## 2.2 Dataset

The dataset provided consists of transverse MR brain scan slices. For a total of three patients, three different slices are used, which are all scanned both T1-weighted and by T2-FLAIR (Mendrik, et al., 2015). For the T1-weighed scans, both the original and a randomly transformed image are used. Throughout this report, the following format is used: {Patient ID}_{Slice ID}_{Sequence}, where patient ID is one of the three patients, slice ID is one of the three slices and sequence is the modality used. For the randomly transformed image, a ‘d’ is appended after the sequence number.

For intra-modal registration the images 1_1_t1 versus 1_1_t1_d and 3_3_t1 versus 3_3_t1_d are used. For inter-modal registration the image  1_1_t1 versus 1_1_t2 and 3_3_t1 versus 3_3_t2 are used

## 2.3 Transformations

The geometrical transformations are the transformations applied to the moving image, x'=T(x). These include:

Translation: x'=x+t, with x the original position vector and t the translation.

Rotation: x'=Rx, with R=cosϕ-sinϕsinϕcosϕ, with ϕ the rotation angle

Scaling: x'=Sx, with S=sx00sy

Shearing: x'=Hx, with H=1hxhy1.

Rigid transformations consist of only translation and rotation, i.e., the dimensions of the moving image do not change. Affine transformations can be combinations of translation, rotation, scaling and shearing, which does change the dimensions of the moving image.

## 2.4 Point-based and intensity-based registration

Point-based registration is performed semi-automatically based on user input in the form of reference points picked by the user. These points that are selected in the fixed image that are considered reliable, based on distinguishable features, are the fiducials (Fitzpatrick, J.M., et al.). The same points are selected in the moving image, after which a transformation matrix is calculated, using the difference in x and y coordinates, giving tx and ty. These values are then used in an affine transformation on the moving image.

Intensity-based registration is performed automatically. The intensity values of the pixels in the images are used as the basis for the registration. The alignment of the fixed and moving images are iteratively improved. An optimal registration is reached when the values used to evaluate the alignment reach an optimum for normalized cross-correlation or mutual information, as explained in the following paragraph.

## 2.5 Methods of registration evaluation

The different intensity-based similarity measures used in the evaluation of the alignment are:

Normalized cross-correlation (nCC)

Normalized cross-correlation assumes there is a linear relationship between the pixel intensities in the two images. However, for inter-modality registration, there is a lack of linearity.

CI,J=i=1n(Ii-I)(Ji-J)i=1nIi-I2i=1nJi-J2

In which, I and J are the two images and i is the pixel number. The nCC value is normalized, meaning it will have a value between 0-1. The higher the value returned, the better the registration. It is possible the value of 1 is not reached when more transformations than translation are done because of inverse mapping.

Mutual information (MI)

The pixels of the images have a finite set of possible values; thus, the probability mass function (PMF) can be defined which maps each possible value to a probability. Mutual information uses this probability mass function (PMF) of the two discrete images, defined with normalized image histograms.

MII,J=i=1nj=1npI,Ji,jlogpI,Ji,jpIipJj

In which I and J are again the images, pIi=PI=i and pI,Ji,j=P(I=i,J=j). The logarithm has base 2, therefore, the MI is expressed in units of bits. Again, the higher the value returned, the better the registration.

Target registration error (TRE)

The evaluation of the quality of the alignment is determined by calculating the error. This is done by taking the L2-norm for every pixel in the fixed and moving image.

ET=TX'-X22

Then the mean error is calculated by dividing this error by the total amount of pixels.

Gradient

[]

# 3. Results

In the following table 1 the target registration error (TRE) are mentioned after affine transformation of the moved image.

#### Table 1. Point-based affine image registration

| Intra-modal registration | TRE |
| --- | --- |
| 1_1_t1 vs 1_1_t1_d | 22.80 |
| 3_3_t1 vs 3_3_t1_d | 12.27 |
| Inter-modal registration |  |
| 1_1_t1 vs 1_1_t2 | 10.65 |
| 3_3_t1 vs 3_3_t2 | 8.76 |

In table 2 the values of the normalized cross-correlation (NCC) or mutual information (MI) are mentioned of affine intensity-based registration. The values are mentioned based on the standard parameters of the rigid transformation ([0, 0, 0]) or affine transformation ([0, 1, 1, 0, 0, 0, 0]). Also, the values of NCC or MI based on the optimal transformation calculated after the gradient ascent are mentioned. The TRE is also metioned in table 2. A complete overview with the values of the learning rate and the resulting optimal transformation matrix is shown in appendix A.

#### Table 2. Intensity-based image registration (NCC = normalized cross-correlation, MI = mutual information)

| Registration method | Used images | Result NCC or MI Before optimalization | Result NCC or MI After optimalization | TRE |
| --- | --- | --- | --- | --- |
| Rigid Intra-modal | 1_1_t1 vs 1_1_t1_d | NCC = 1 | NCC = 1 | 5.10 |
| Affine Intra-modal | 1_1_t1 vs 1_1_t1_d | NCC = 1 | NCC = 1 | 18.21 |
| Affine Inter-modal | 1_1_t1 vs 1_1_t2 | NCC = 0.53 | NCC = 0.54 | 213.02 |
| Affine Inter-modal | 1_1_t1 vs 1_1_t1_d | MI = 3.02 | MI = 1.92 | 2.20 |
| Affine Inter-modal | 1_1_t1 vs 1_1_t2 | MI = 0.72 | MI = 0.85 | 157.95 |
| Rigid Intra-modal | 3_3_t1 vs 3_3_t1_d | NCC = 0.60 | NCC = 0.63 | 444.88 |
| Affine Intra-modal | 3_3_t1 vs 3_3_t1_d | NCC = 0.60 | NCC = 0.74 | 193.38 |
| Affine Inter-modal | 3_3_t1 vs 3_3_t2 | NCC = 0.56 | NCC = 0.60 | 118.94 |
| Affine Intra-modal | 3_3_t1 vs 3_3_t1_d | MI = 0.63 | MI = 0.83 | 122.35 |
| Affine Inter-modal | 3_3_t1 vs 3_3_t2 | MI = 0.71 | MI = 0.82 | 97.27 |

# Discussion

Point based affined image registration is done to compute transformation matrices for both intra- and inter-modal cases. To evaluate the accuracy of this registration, the target registration error is calculated. The distance between a chosen set of points for both intra- and inter-modal cases ranges from 8.76 to 22.80 and is on average 13.6. This error is mainly caused due to human imprecision. Point based registration requires a manual input for picking coordinates in two different images. It is unlikely that those points are picked precisely on the same spot in the images. Besides, the same method is used for picking new points to calculate the target registration error.

In order to avoid human errors during registration, an automated form of intensity based registration is also evaluated. Several cases consisting of combinations of both rigid or affine, normalized cross-correlation or mutual information and inter- or intra-modal situations are evaluated. The learning rate for those cases differ significantly, and were hand-chosen to obtain the most precise results. The target registration error ranges from 2.20 to 444.88, indicating a large variation and a larger average of 137.33. The large errors are caused by the learning rate (mu). A smaller mu results in the more precise results, but might take many more iterations if the initial displacement is large. Less iterations are often needed with a larger learning rate. However, generally, a larger mu results in a smaller final correlation.

From these results the conclusion can be made that under these conditions point-based registration gives a lower target registration error than intensity based registration, therefore making point-based registration the more accurate method.

The best way to counter the issues with the learning rate is to apply a variable mu. This is obtained by making the learning rate decrease when the correlation increases. These results are shown in table … . (explain variable mu takes less iterations to obtain even higher correlation). Another way to combat this issue is by combining point-based registration with intensity based registration. By using point-based registration an initial transformation vector can be obtained to bring the moving image closer to the fixed image. A small learning rate can then easily be used without taking too many iterations. These results are shown in table ... .

# Appendix

### Appendix A – A complete overview of the values used for the optimalization of the intensity-based registration

Table 3 – The used learning rate (mu) and resulting initial parameter vector for the optimalization of the intensity-based registration

| Registration method | Used images | Learning rate (mu) | Best initial parameter vector |
| --- | --- | --- | --- |
| Rigid Intra-modal | 1_1_t1 vs 1_1_t1_d | 0.0001 | [1.55e-06, 2.24e-06, -2.19e-06] |
| Affine Intra-modal | 1_1_t1 vs 1_1_t1_d | 0.0001 | [0, 1, 1, -9.31e-08, -8.34e-08, 3.19e-07, 5.03e-09] |
| Affine Inter-modal | 1_1_t1 vs 1_1_t2 | 0.00001 | [0, 1, 1, 0.0024, -0.0025, 0.0019, -0.0019] |
| Affine Inter-modal | 1_1_t1 vs 1_1_t1_d | 0.00001 | [0, 1, 1, 2.32e-03, 8.89e-04, 1.16e-03, 1.22e-04] |
| Affine Inter-modal | 1_1_t1 vs 1_1_t2 | 0.001 | [0, 1, 1, 0.058, -0.050, -0.30, -0.078] |
| Rigid Intra-modal | 3_3_t1 vs 3_3_t1_d | 0.0015 | [-0.031, -0.088, -0.015] |
| Affine Intra-modal | 3_3_t1 vs 3_3_t1_d | 0.0015 | [0, 1, 1, 0.0033, -0.081, -0.021, -0.094] |
| Affine Inter-modal | 3_3_t1 vs 3_3_t2 | 0.001 | [0, 1, 1, 0.047, -0.044, -0.053, -0.079] |
| Affine Intra-modal | 3_3_t1 vs 3_3_t1_d | 0.001 | [0, 1, 1, 0.0030, -0.080, -0.042, -0.10] |
| Affine Inter-modal | 3_3_t1 vs 3_3_t2 | 0.001 | [0, 1, 1, 0.051, -0.061, -0.069, -0.066] |

# References

http://library.msri.org/books/Book46/files/07kostelec.pdf

https://link.springer.com/content/pdf/10.1007%2F978-1-4471-7320-5.pdf

# Discussion

For the intensity-based error function, the error will be too big for inter-modal registration because of the difference in intensity values

# Appendix

# References

http://library.msri.org/books/Book46/files/07kostelec.pdf

https://link.springer.com/content/pdf/10.1007%2F978-1-4471-7320-5.pdf

A.M. Mendrik, K.L. Vincken, H.J. Kuijf, M. Breeuwer, W.H. Bouvy, J. de Bresser, A. Alansary, M. de Bruijne, A. Carass, A. El-Baz, A. Jogh, R. Katyal, A.R. Khan, F. van der Lijn, Q. Mahmood, R. Mukherjee, A. van Opbroek, S. Paneri, S. Pereira, M. Persson, M. Rajchl, D. Sarikayan, O. Smedby, C.A. Silva, H.A. Vrooman, S. Vyas, C. Wang, L. Zhaon, G.J. Biessels, M.A. Viergever. “MRBrainS Challenge: Online Evaluation Framework for Brain Image Segmentation in 3T MRI Scans.” Computational Intelligence and Neuroscience, special issue on Simulation and Validation in Brain Image Analysis 2015. Article ID 813696.

Voorbeeld registration points aanklikken

Point error

Ls_affine t1 en t1_d van patient 1

Ls_affine t1 en t2 van patient 1

Ls_affine t1 en t1_d bij patient 3

Ls_affine t1 en t2 bij patient 3